## Slide 1
21F6 Phase 2 (Oak Ave)
Neighbourhood Construction
June 2023

## Slide 2: Welcome & Introductions
All Attendee Microphones and Cameras are Turned Off.
We will be taking questions throughout the presentation.
If you have a question, please type it in the question box in the upper right corner of your screen.
This meeting is being recorded and will available on our website.
Notes: Christina

## Slide 3: Welcome & Introductions
Presenters today are:
Karla Bailey, Vice President, Asset Management & Engineering
Chris Pereira, Utility Arborist Coordinator
Also present:
Shannon Baraniuk, Customer Accounts Clerk
Notes: Christina

## Slide 4: 21F6 PH2 Project Extents
Clarkson St
Oak Ave
Windsor St
Algonquin Ave
Notes: Colored lines indicate where new poles and wires will be, a full pdf map will be posted on the website for download and viewing afterwards.
Notice that Synergy North poles and wires are located in backyard easements throughout the area

## Slide 5
Synergy North Owned Assets
Transformer
Wires
Pole
Meter Base
Transformer
Anchor
Notes: What we own – meters, transformers wires, poles
What we do not own – telecom boxes and wires on the bottom

## Slide 6
What to expect when we’re in your neighbourhood
Pole Setting
  Settling and backfill material
  Access and Cranes
  Double Poles
  Outages
  Occur during service changes
  Traffic disruptions
  Follow traffic rules, no closing of roads
  Noise
  OHSA guidelines
Notes: Pole setting - Backfill material mounded to accommodate for settling
- Designated utility easement, SNC will be using cranes
Outages - Receive notice with point of contact if questions
Traffic - Several Vehicles, some will be subcontractors
- In construction zones – please slow down
Noise - Crews operate during 8-4 and follow the occupational health and safety act

## Slide 7
Forestry
  Notices
  Will be sent to all customers prior to trimming
  Encouraged to contact SNC to provide comments and discuss options for trees
  Trimming
  Site visits for vegetation that requires trimming
  Trees could be cleared up to 3m to provide clearances from powerlines
  All clippings will be cleaned and cleared
Notes: 1) Mail out notices to customers in project
2) Upon completion of a site visit Synergy North will determine the scope of work for each property
3) Customers will be contacted via mail and telephone to consult on the scope of work

## Slide 8
Forestry
  “Plant the right tree in the right place”
  Appropriate types, sizes, locations
Notes: When looking at landscaping options, remember to consider height and location
Look at the mature height when planting near power lines and plant taller trees away from lines and only low compact species new power lines.
Coordinate with City of Thunder Bay on planting in boulevards

## Slide 9: 21F6 PH2 Project
Statistics
  Primarily residential, 117 customers (St.Pius & Hamm are in this area)
  52 new poles + 3 reframed poles
  ~3,973m new overhead wire
  8 overhead transformers
  Total project cost : $2,250,000
Notes: Cost includes equipment, labour, trucking
Design team has been on site to discuss service changes with commercial customers

## Slide 10
Typical Design Practices
Typical overhead projects are designed in a “like-for-like” manner
  Most of the time locations for equipment remain
  Changes where wire connects to the home will be discussed with individual customer
Notes: “like-for-like” means that we replace it in the location where it existed, but for current standards and loads
All underground services will remain underground, connection at pole will be moved to new pole.

## Slide 11: 21F6 PH2 Project Extents
Clarkson St
Oak Ave
Windsor St
Algonquin Ave
Notes: Colored lines indicate where new poles and wires will be, a full pdf map will be posted on the website for download and viewing afterwards.
Notice that Synergy North poles and wires are located in backyard easements throughout the area

## Slide 12
System Changes highlighted
Orange
  New pole, anchor or wire in a location where it did not exist prior
Blue
  Moving overhead wires underground or underground replacement
Green
  Change to the existing plant, extra wire or pole shift less than 5m
Notes: Show a series of maps indicating where our replacement is not a “like-for-like” replacement

## Slide 13: Orange Changes (new anchors)
Notes: Temporary for 5 years until the next phase is complete and wires are removed, anchors wont be needed.

## Slide 14
Schedule
  2023
  Forestry (June)
  2024
  Surveying (November)
2025
  Pole Set (October)
  2026
  Overhead work (Complete end of 2026)
  Notification to Other Attachments (SL, Comm)
Notes: Certain types of work are seasonal – ie. with reference to leaves on trees and when the ground is thawed and dry
Explain Surveying
Our timing can change based on snow thaw and freeze

## Slide 15
When You Can Expect To Hear From Us
Virtual Meeting
Forestry Information (letter mail)
Optional Forestry Notice (phone call or email)
Notice of Project (letter mail)
Optional Obstruction Notice (phone call or letter mail)
Outage Notice (letter mail or automated call)
Notes: When you can expect to hear from Synergy North
Virtual meeting before any work to begin
Forestry information is a before supervisor in to do site visits
Forestry notice if trees being cut 2-3 weeks before cut
Notice of Project is usually 3 weeks before construction – next year
Obstructions notice - which doesn’t allow us to access existing pole location or new pole location
Outage notice is one week letter mail and automated call